## Sheet1
Axis
Device ID | Deployed | Removed | ADCP type | Important notes | ExcludeADCPbeamNumber
23064 | 2012-06-02 | 2014-05-05 | RDI 75 kHz Workhorse Long Ranger | Had later issues with beam 1 associated with faulty DSP board (2019-05-01), long range interference issues (2013-05-23), and 2-hour interference issues (2013-01-16). | Beam 2, from 2013-09-01
23065 | 2014-05-08 | 2015-09-17 | RDI 75 kHz Workhorse Long Ranger | Interferences noted in data (2014-07-10), removed for maintenance in 2015. Had later issues with beam 1 associated with faulty DSP board (2019-05-01) - why is this listed for both of these RDI instruments? | Beam 1, from 2014-05-08
| 2016-06-14 | 2018-06-22
22925 | 2016-06-14 | 2018-06-22 | Nortek 55 kHz Signature55 | Had later issues with beam 3 having excessive noise (2019-01-22). | n/a
24420 | 2018-06-22 | n/a | Nortek 55 kHz Signature55 | Lost connection (2020-06-01). | n/a
Upper Slope
Device ID | Deployed | Removed | ADCP type | Important notes | ExcludeADCPbeamNumber
12108 | 2009-07-26 | 2019-05-16 | RDI 75 kHz Workhorse Long Ranger | Nothing of note. | None
23065 | 2019-08-26 | n/a | RDI 75 kHz Workhorse Long Ranger | Lost connection (2020-06-01). | Beam 1, from 2014-05-08